VARIABILITY OF THE GENERATION AND RELIABILITY OF THE ELECTRICAL SYSTEM.
MSc. Eng. Eliana Cornalino
Wind energy specialist at the Administración del Mercado Eléctrico - ADME of Uruguay
MSc. Eng. Ruben Chaer
Associate Professor at the Instituto de Ingeniería Eléctrica (IIE-FING-UdeLaR) of Uruguay
Manager T&DNC at the Administración del Mercado Eléctrico - ADME of Uruguay
Senior Member of the IEEE

---
Institutions.
1. ADME: Administración Del Merado Eléctrico of Uruguay.
  1. System operation, optimal dispatch and commercial liquidation of the wholesale electric power market.
  IIE: Instituto de Ingeniería Eléctrica.
3. FING: Facultad de Ingeniería.
5. UdeLaR: Universidad de La República Oriental del Uruguay.

---
Optimization/Simulation Software
1. SimSEE
  1. Simulation software platform for the optimal operation of electrical generation systems with modeling of renewables, transport restrictions and stochastic processes.
2. OddFace
  1. Distributed optimizer of cost functions of very high cost of evaluation using genetic programming techniques.
3. PIG
  1. Agent for evaluation of investment plans and expansion options. PIG Agents use SimSEE and are used by OddFace to solve the problem of the optimal expansion of power generation.

---
PRONOS
https://pronos.adme.com.uy
Weather’s
forecast
Real time
system info.
Model of the plants.
Forecast of Wind
and Solar generation.

---
VATES
Forecast of the next 336 hours of the power system operation.
https://vates.adme.com.uy

---
What about the future?
ADME, has to ensure that the expected expansion based on VRE allows us to continue with a safe operation and that the energy will be delivered with the appropriate reliability.

---
We imagine two scenarios:
SIP ): Standard Investment Plan.
expansion options: Solar, Wind and Gas Turbines.
DIP ): Decarbonized Investment Plan.
expansion options: Solar, Wind and Battery banks.
Optimization of the investment plan.
OddFace

---
Characterization of the variability in Uruguay.
16 years
water inflows
wind & solar
averaging time to we get the expected value width a tolerance of 10% and 90% confidence as a measure of filtering effort.
WS
2 month

---
Time-Bands (Patamares) defined by the Monotonous Load Curve ... Makes sense?
Only an example, 4 days of july-2018-Uruguay
hours
MW
hours
MW
Source: ADME - SCADA ten-minute time series
[Speaker Notes: To fix ideas, the figure shows the supply of the Demand of Uruguay in the first four days of July 2018. They were not chosen for anything in particular.]

---
Representation of uncertainty.
El Niño, Hydro, Wind, Solar, Demand, Temperature.
(correlated processes)
Sources of randomness
Stochastic processes
Demand and temperature
Flows of water contributions
Wind speed
Solar radiation
Price of interconnected markets
Fuel prices
Availability of fuels
Availability of generating plants
Availability of transport lines
Equipment availability
(independent booleans)
We are managing faster dynamics, therefore, the correlation between the different resources has greater importance.
We need models of variability that correctly represent the correlation between resources and the correlation with the past.
That is, we have to represent the inertia behind the stochastic variables.
SimSEE

---
Main results.
SIP
SIP
DIP

---
Annual energy failure PE(10).

---
Power spectrum of Failure/Demand signal.

---
A realization with energy rationing and energy surplus.
rationing
surplus

---
Evolution of the height of hydro-reservoires.
bottom of the lake reached

---
In the future, when the filtering capacity of the hydroelectric subsystem is exhausted, regional integration, Responsive Demands and Battery-storage will be the key to filter the variations of energy availability within the week.

---
Final remarks.
1. Based on the results obtained, it can be affirmed that the Uruguayan system could maintain the reliability of supply at levels similar to the current ones, even in a horizon such as the year 2030, with a expected 65% of the supply based on VRE.
3. From the point of view of the operation then we conclude that until 2030 we can be calm.

---
Thinking in the long-term, no one knows what will be the available technologies and their costs from 2030 onwards nor the speed with which electric mobility and intelligent networks will allow new demands to be used as filtering elements for variability.
As always, a challenging and fun future is coming.
Muchas gracias por su atención.
Muito obrigado pela sua atenção!
Thank you so much for your attention!

---
What we have done in Uruguay.
Source: The risk images are from the IIE studies carried out in 2010 and 2018 respectively.
dray years
wet years
2011 [GWh]
2019 [GWh]
dray years
wet years